## Worksheet
Unique Device Identification
GTIN Report
Date: 07/30/2025
Product # | GTIN | Product Desc | Operating Company | Unit of Measure
FG12081 | 10846835026559 | NUVISION ICE NAV CATHETER | Biosense Webster | EA
FG12080 | 10846835026566 | NUVISION ICE CATHETER, 10F | Biosense Webster | EA
FG10593 | 00860005688104 | The NUVISION™ ICE Catheter is a diagnostic ultrasound imaging catheter designed for intracardiac use. | Biosense Webster | EA
FG10594 | 00860005688111 | The NuVision Connector Cable is a non-sterile, reusable connector cable intended to connect the sterile, single-use NuVision ICE Catheter to a qualified GE ultrasound cardiac imaging system. | Biosense Webster | EA
11510826 | 10846835022780 | SOUNDSTAR CRYSTAL Ultrasound Catheter | Biosense Webster | EA
D133701 | 10846835010121 | Cath to Generator CBL Sterile | Biosense Webster | EA
D141702 | 10846835025248 | TRUPULSE Generator | Biosense Webster | EA
D141201 | 10846835025460 | 8.5 FR VARIPULSE™ Bi-Directional Catheter | Biosense Webster | EA
FG-5400-00 | 10846835000870 | CARTO 3 System | Biosense Webster | EA
FG-2000-00 | 10846835017182 | Acclarent ENT Navigation System | Biosense Webster | EA
D135305 | 10846835012620 |  | Biosense Webster | EA
D5S10MZR282RT | 10846835004175 |  | Biosense Webster | EA
D7R20LCSRT | 10846835005929 |  | Biosense Webster | EA
F7LDG005RT | 10846835008180 |  | Biosense Webster | EA
F7LDG252RT | 10846835008203 |  | Biosense Webster | EA
OF63X4C010FS | 10846835008647 |  | Biosense Webster | EA
D131209S | 10846835009446 |  | Biosense Webster | EA
D1085412 | 10846835009996 |  | Biosense Webster | EA
XRP6H | 10846835000665 |  | Biosense Webster | EA
1085182S | 10846835001082 |  | Biosense Webster | EA
F5CQD252RT | 10846835007091 |  | Biosense Webster | EA
F6BF010RT | 10846835007558 |  | Biosense Webster | EA
F6CQF252RT | 10846835007633 |  | Biosense Webster | EA
F7LADPP10RT | 10846835008166 |  | Biosense Webster | EA
D128623 | 10846835008890 |  | Biosense Webster | EA
D128627 | 10846835008906 |  | Biosense Webster | EA
CFP002 | 10846835000085 | "" | Biosense Webster | EA
1085160S | 10846835001037 |  | Biosense Webster | EA
1086540S | 10846835001259 |  | Biosense Webster | EA
1088124S | 10846835001457 |  | Biosense Webster | EA
111842RT | 10846835001549 |  | Biosense Webster | EA
122071S | 10846835002300 |  | Biosense Webster | EA
123703S | 10846835002348 |  | Biosense Webster | EA
FG11656 | 10846835025194 | NUVISION NAV Ultrasound Catheter, 10F | Biosense Webster | EA
D139502 | 10846835016727 | Bi-Directional Navigation Catheter, NAV, F-F | Biosense Webster | EA
D139401 | 10846835017045 | Uni-Directional Navigation Catheter, NAV, D | Biosense Webster | EA
D139504 | 10846835016741 | Bi-Directional Navigation Catheter, NAV, F-J | Biosense Webster | EA
D139505 | 10846835016758 | Bi-Directional Navigation Catheter, NAV, D-F | Biosense Webster | EA
D139402 | 10846835017076 | Uni-Directional Navigation Catheter, NAV, F | Biosense Webster | EA
D139501 | 10846835016710 | Bi-Directional Navigation Catheter, NAV, D-D | Biosense Webster | EA
D139403 | 10846835017106 | Uni-Directional Navigation Catheter, NAV, J | Biosense Webster | EA
D139503 | 10846835016734 | Bi-Directional Navigation Catheter, NAV, J-J | Biosense Webster | EA
D139003 | 10846835020243 | 2.44FR LASSOSTAR non-NAV,10P,25MM | Biosense Webster | EA
D139002 | 10846835020229 | 2.44FR LASSOSTAR non-NAV,10P,20MM | Biosense Webster | EA
D139001 | 10846835020236 | 2.44FR LASSOSTAR non-NAV,10P,15MM | Biosense Webster | EA
M599902SP | 10846835017434 | TX eco Cable Dongle Spare Part | Biosense Webster | EA
10439236 | 10846835008869 | SoundStar eco 8F G Catheter | Biosense Webster | EA
D142902 | 10846835025811 | OPTRELL-36 F-J Curve | Biosense Webster | EA
D142901 | 10846835025828 | OPTRELL-36 D-F Curve | Biosense Webster | EA
D135703 | 10846835016796 | TX eco EXT Cable | Biosense Webster | EA
D138402 | 10846835018080 | Generator | Biosense Webster | EA
D140401 | 10846835020335 | Circular Mapping Catheter | Biosense Webster | EA
D140402 | 10846835020342 | Circular Mapping Catheter | Biosense Webster | EA
D140403 | 10846835020359 | Circular Mapping Catheter | Biosense Webster | EA
D140901 | 10846835023015 | Mapping Catheter with TRUEref Technology | Biosense Webster | EA
D140902 | 10846835023022 | Mapping Catheter with TRUEref Technology | Biosense Webster | EA
M660202SP | 10846835018554 | EXT PROCESSING UNIT ACCESSORIE | Biosense Webster | EA
M660201SP | 10846835018578 | EXT PROCESSING UNIT ACCESSORIE | Biosense Webster | EA
M665701SP | 10846835018585 | DOCK, VISITAG SURPOINT EPU SP | Biosense Webster | EA
D160902 | 10846835021110 | OCTA,GALAXY,2-5-2-5-2,D-CURVE | Biosense Webster | EA
D160903 | 10846835021127 | OCTA,GALAXY,3-3-3-3-3,D-CURVE | Biosense Webster | EA
D160906 | 10846835021134 | OCTA,GALAXY,3-3-3-3-3,F-CURVE | Biosense Webster | EA
D160901 | 10846835021141 | OCTA,PERSEID,2-2-2-2-2,D-CURVE | Biosense Webster | EA
D160905 | 10846835021158 | OCTA,GALAXY,2-5-2-5-2,F-CURVE | Biosense Webster | EA
D160904 | 10846835021233 | OCTA,PERSEID,2-2-2-2-2,F-CURVE | Biosense Webster | EA
NR7TCSIY | 10846835008500 |  | Biosense Webster | EA
D133601 | 10846835008982 |  | Biosense Webster | EA
D133602 | 10846835009002 |  | Biosense Webster | EA
D133603 | 10846835009019 |  | Biosense Webster | EA
D132701 | 10846835009163 |  | Biosense Webster | EA
D132703 | 10846835009187 |  | Biosense Webster | EA
D134901 | 10846835009651 |  | Biosense Webster | EA
D135304 | 10846835009989 |  | Biosense Webster | EA
AMSTK | 10846835002393 |  | Biosense Webster | EA
BDI75TCFFRT | 10846835002881 |  | Biosense Webster | EA
BNI75TCDDH | 10846835003314 |  | Biosense Webster | EA
BNI75TCDFH | 10846835003338 |  | Biosense Webster | EA
BNI75TCFJH | 10846835003376 |  | Biosense Webster | EA
BNI75TCJJH | 10846835003390 |  | Biosense Webster | EA
D132702 | 10846835009170 |  | Biosense Webster | EA
D132704 | 10846835009194 |  | Biosense Webster | EA
D132705 | 10846835009200 |  | Biosense Webster | EA
D135303 | 10846835009972 |  | Biosense Webster | EA
ADSTK | 10846835002379 |  | Biosense Webster | EA
AESTK | 10846835002386 |  | Biosense Webster | EA
BDI75TCDDRT | 10846835002867 |  | Biosense Webster | EA
BDI75TCDFRT | 10846835002874 |  | Biosense Webster | EA
BDI75TCFJRT | 10846835002898 |  | Biosense Webster | EA
BDI75TCJJRT | 10846835002904 |  | Biosense Webster | EA
BNI75TCFFH | 10846835003352 |  | Biosense Webster | EA
D135406 | 10846835013108 |  | Biosense Webster | EA
D135405 | 10846835013092 |  | Biosense Webster | EA
D6BL252RT | 10846835004403 |  | Biosense Webster | EA
D6DL252RT | 10846835004427 |  | Biosense Webster | EA
D6EL252RT | 10846835004465 |  | Biosense Webster | EA
D6AL252RT | 10846835004373 |  | Biosense Webster | EA
F6CQA252RT | 10846835007596 |  | Biosense Webster | EA
D134909 | 10846835010046 |  | Biosense Webster | EA
D135402 | 10846835012323 |  | Biosense Webster | EA
D135403 | 10846835012330 |  | Biosense Webster | EA
107890S | 10846835000849 |  | Biosense Webster | EA
107893S | 10846835000856 |  | Biosense Webster | EA
F5CQD005RT | 10846835007084 |  | Biosense Webster | EA
F6CQA005RT | 10846835007572 |  | Biosense Webster | EA
D134302 | 10846835009644 |  | Biosense Webster | EA
107832RT | 10846835000719 |  | Biosense Webster | EA
D134402 | 10846835022056 | SPLIT HANDLE EXT. CABLE, 9' LG Supports catheter's with more than 20 electrodes | Biosense Webster | EA
D135501 | 10846835013061 |  | Biosense Webster | EA
D135502 | 10846835013078 |  | Biosense Webster | EA
D135901 | 10846835013085 |  | Biosense Webster | EA
D7BTCB5L252RT | 10846835005165 |  | Biosense Webster | EA
D7BTCF5L252RT | 10846835005240 |  | Biosense Webster | EA
D7BTCG5L | 10846835005264 |  | Biosense Webster | EA
D7BTCJL | 10846835005318 |  | Biosense Webster | EA
D7BTEL252RT | 10846835005400 |  | Biosense Webster | EA
D7BTF5L252RT | 10846835005417 |  | Biosense Webster | EA
D7BTFL252RT | 10846835005431 |  | Biosense Webster | EA
D7BTG5L | 10846835005448 |  | Biosense Webster | EA
D7BTHL | 10846835005479 |  | Biosense Webster | EA
D6TAL252RT | 10846835004588 |  | Biosense Webster | EA
D6TCCL252RT | 10846835004656 |  | Biosense Webster | EA
D7AL252RT | 10846835005080 |  | Biosense Webster | EA
D7BL252RT | 10846835005110 |  | Biosense Webster | EA
D7BTBL252RT | 10846835005141 |  | Biosense Webster | EA
D7BTCC5L252RT | 10846835005189 |  | Biosense Webster | EA
D7BTCCL252RT | 10846835005196 |  | Biosense Webster | EA
D7BTCD5L252RT | 10846835005202 |  | Biosense Webster | EA
D7BTCL252RT | 10846835005349 |  | Biosense Webster | EA
D7BTGL | 10846835005455 |  | Biosense Webster | EA
D7BTJ5L | 10846835005486 |  | Biosense Webster | EA
D7CL252RT | 10846835005554 |  | Biosense Webster | EA
D7DL252RT | 10846835005608 |  | Biosense Webster | EA
D7EL252RT | 10846835005684 |  | Biosense Webster | EA
D7FL252RT | 10846835005714 |  | Biosense Webster | EA
D7T270L252RT | 10846835006018 |  | Biosense Webster | EA
D7TBL252RT | 10846835006056 |  | Biosense Webster | EA
D7TCB8L162RT | 10846835006094 |  | Biosense Webster | EA
D7TCBG252RT | 10846835006100 |  | Biosense Webster | EA
D7TCCG252RT | 10846835006117 |  | Biosense Webster | EA
D7TCD8L162RT | 10846835006124 |  | Biosense Webster | EA
D7TCFG252RT | 10846835006179 |  | Biosense Webster | EA
D7TCPSL252RT | 10846835006216 |  | Biosense Webster | EA
D8BRDL252RT | 10846835006322 |  | Biosense Webster | EA
D8BRFL252RT | 10846835006353 |  | Biosense Webster | EA
D8BTBL252RT | 10846835006384 |  | Biosense Webster | EA
D8BTCBG252RT | 10846835006414 |  | Biosense Webster | EA
D8BTCBL252RT | 10846835006421 |  | Biosense Webster | EA
D7BTJL | 10846835005493 |  | Biosense Webster | EA
D7BTKL | 10846835005516 |  | Biosense Webster | EA
D7CG252RT | 10846835005530 |  | Biosense Webster | EA
D7EG252RT | 10846835005660 |  | Biosense Webster | EA
D7PSL252RT | 10846835005912 |  | Biosense Webster | EA
D7TAL252RT | 10846835006032 |  | Biosense Webster | EA
D7TC270L252RT | 10846835006063 |  | Biosense Webster | EA
D7TCAG252RT | 10846835006070 |  | Biosense Webster | EA
D7TCAL252RT | 10846835006087 |  | Biosense Webster | EA
D7TCDG252RT | 10846835006131 |  | Biosense Webster | EA
D7TCE8L162RT | 10846835006148 |  | Biosense Webster | EA
D7TCEG252RT | 10846835006155 |  | Biosense Webster | EA
D7TCEL252RT | 10846835006162 |  | Biosense Webster | EA
D7TCJ8L162RT | 10846835006193 |  | Biosense Webster | EA
D7TCL252RT | 10846835006209 |  | Biosense Webster | EA
D7TEL252RT | 10846835006247 |  | Biosense Webster | EA
D8BRCG252RT | 10846835006292 |  | Biosense Webster | EA
DLN1225CT | 10846835006803 |  | Biosense Webster | EA
DLN2215CT | 10846835006810 |  | Biosense Webster | EA
DLN2225CT | 10846835006834 |  | Biosense Webster | EA
NI75TCBH | 10846835008333 |  | Biosense Webster | EA
NR7TCS4Y | 10846835008463 |  | Biosense Webster | EA
NS7TCB8L174HS | 10846835008524 |  | Biosense Webster | EA
NS7TCCL174HS | 10846835008555 |  | Biosense Webster | EA
NS7TCEL174HS | 10846835008579 |  | Biosense Webster | EA
NS7TCJL174HS | 10846835008586 |  | Biosense Webster | EA
D131504 | 10846835009255 |  | Biosense Webster | EA
D131802 | 10846835009262 |  | Biosense Webster | EA
D131803 | 10846835009279 |  | Biosense Webster | EA
D131602 | 10846835009323 |  | Biosense Webster | EA
D131603 | 10846835009330 |  | Biosense Webster | EA
D131604 | 10846835009347 |  | Biosense Webster | EA
D7TCF8L162RT | 10846835000399 |  | Biosense Webster | EA
DI7TCFLRT | 10846835000450 |  | Biosense Webster | EA
NI75TCJH | 10846835000573 |  | Biosense Webster | EA
NS7TCF8L174HS | 10846835000603 |  | Biosense Webster | EA
NS7TCJ8L174HS | 10846835000627 |  | Biosense Webster | EA
118330S | 10846835001891 |  | Biosense Webster | EA
BD7TCDF4L | 10846835002515 |  | Biosense Webster | EA
BD7TCDF8L | 10846835002539 |  | Biosense Webster | EA
BD7TCFF8L | 10846835002577 |  | Biosense Webster | EA
BD7TDF4L | 10846835002676 |  | Biosense Webster | EA
BD7TFF4L | 10846835002706 |  | Biosense Webster | EA
BD7TFJ4L | 10846835002720 |  | Biosense Webster | EA
BD7TJJ4L | 10846835002751 |  | Biosense Webster | EA
BDI35BDRT | 10846835002782 |  | Biosense Webster | EA
BDI35DFRT | 10846835002812 |  | Biosense Webster | EA
BDI35FFRT | 10846835002836 |  | Biosense Webster | EA
BDI35FJRT | 10846835002843 |  | Biosense Webster | EA
BN7TCDF4L | 10846835002997 |  | Biosense Webster | EA
BN7TCDF8L | 10846835003000 |  | Biosense Webster | EA
BN7TCFJ4L | 10846835003031 |  | Biosense Webster | EA
BN7TCJJ4L | 10846835003055 |  | Biosense Webster | EA
BNI35BDCT | 10846835003147 |  | Biosense Webster | EA
BNI35DDCT | 10846835003185 |  | Biosense Webster | EA
BNI35DDH | 10846835003192 |  | Biosense Webster | EA
BNI35DFCT | 10846835003208 |  | Biosense Webster | EA
BNI35DJCT | 10846835003222 |  | Biosense Webster | EA
BNI35DJH | 10846835003239 |  | Biosense Webster | EA
BNI35FFH | 10846835003253 |  | Biosense Webster | EA
BNI35FJCT | 10846835003260 |  | Biosense Webster | EA
C6MR10MLTCS | 10846835003697 |  | Biosense Webster | EA
CR7TCS4RT | 10846835003888 |  | Biosense Webster | EA
NS7TCBL174HS | 10846835008531 |  | Biosense Webster | EA
NS7TCDM174HS | 10846835008562 |  | Biosense Webster | EA
D131501 | 10846835009231 |  | Biosense Webster | EA
D131502 | 10846835009248 |  | Biosense Webster | EA
D131804 | 10846835009286 |  | Biosense Webster | EA
D131503 | 10846835009293 |  | Biosense Webster | EA
D131801 | 10846835009309 |  | Biosense Webster | EA
D131601 | 10846835009316 |  | Biosense Webster | EA
DI7TCDLRT | 10846835000443 |  | Biosense Webster | EA
NI75TCDH | 10846835000559 |  | Biosense Webster | EA
NI75TCFH | 10846835000566 |  | Biosense Webster | EA
NS7TCD8L174HS | 10846835000580 |  | Biosense Webster | EA
NS7TCDL174HS | 10846835000597 |  | Biosense Webster | EA
NS7TCFL174HS | 10846835000610 |  | Biosense Webster | EA
116409RT | 10846835001839 |  | Biosense Webster | EA
118331S | 10846835001907 |  | Biosense Webster | EA
118332S | 10846835001914 |  | Biosense Webster | EA
118430S | 10846835001952 |  | Biosense Webster | EA
118431S | 10846835001969 |  | Biosense Webster | EA
118432S | 10846835001976 |  | Biosense Webster | EA
118434S | 10846835001983 |  | Biosense Webster | EA
118435S | 10846835001990 |  | Biosense Webster | EA
BD710DF282CT | 10846835002409 |  | Biosense Webster | EA
BD710DF282RTS | 10846835002416 |  | Biosense Webster | EA
BD710FJ282CT | 10846835002423 |  | Biosense Webster | EA
BD710FJ282RTS | 10846835002430 |  | Biosense Webster | EA
BD7TCDD4L | 10846835002485 |  | Biosense Webster | EA
BD7TCDD8L | 10846835002508 |  | Biosense Webster | EA
BD7TCFF4L | 10846835002553 |  | Biosense Webster | EA
BD7TCFJ4L | 10846835002584 |  | Biosense Webster | EA
BD7TCFJ8L | 10846835002607 |  | Biosense Webster | EA
BD7TCJJ4L | 10846835002621 |  | Biosense Webster | EA
BD7TCJJ8L | 10846835002645 |  | Biosense Webster | EA
BD7TDD4L | 10846835002652 |  | Biosense Webster | EA
BDI35BBRT | 10846835002775 |  | Biosense Webster | EA
BDI35BFRT | 10846835002799 |  | Biosense Webster | EA
BDI35DDRT | 10846835002805 |  | Biosense Webster | EA
BDI35DJRT | 10846835002829 |  | Biosense Webster | EA
BDI35JJRT | 10846835002850 |  | Biosense Webster | EA
BN7TCDD4L | 10846835002973 |  | Biosense Webster | EA
BN7TCDD8L | 10846835002980 |  | Biosense Webster | EA
BN7TCFF4L | 10846835003017 |  | Biosense Webster | EA
BN7TCFF8L | 10846835003024 |  | Biosense Webster | EA
BN7TCFJ8L | 10846835003048 |  | Biosense Webster | EA
BN7TCJJ8L | 10846835003062 |  | Biosense Webster | EA
BNI35BBCT | 10846835003123 |  | Biosense Webster | EA
BNI35BBH | 10846835003130 |  | Biosense Webster | EA
BNI35BDH | 10846835003154 |  | Biosense Webster | EA
BNI35BFCT | 10846835003161 |  | Biosense Webster | EA
BNI35BFH | 10846835003178 |  | Biosense Webster | EA
BNI35DFH | 10846835003215 |  | Biosense Webster | EA
BNI35FFCT | 10846835003246 |  | Biosense Webster | EA
BNI35FJH | 10846835003277 |  | Biosense Webster | EA
BNI35JJCT | 10846835003284 |  | Biosense Webster | EA
BNI35JJH | 10846835003291 |  | Biosense Webster | EA
CR7TCS4RTU | 10846835003895 |  | Biosense Webster | EA
CR7TCSIRT | 10846835003901 |  | Biosense Webster | EA
D6TBL252RT | 10846835004601 |  | Biosense Webster | EA
D6TCAL252RT | 10846835004625 |  | Biosense Webster | EA
D6TCBL252RT | 10846835004649 |  | Biosense Webster | EA
D6TCEL252RT | 10846835004694 |  | Biosense Webster | EA
D6TDL252RT | 10846835004717 |  | Biosense Webster | EA
D6TFL252RT | 10846835004731 |  | Biosense Webster | EA
D7BTCEL252RT | 10846835005233 |  | Biosense Webster | EA
D7BTD5L252RT | 10846835005356 |  | Biosense Webster | EA
D7BTDL252RT | 10846835005370 |  | Biosense Webster | EA
D6TCAG252RT | 10846835004618 |  | Biosense Webster | EA
D6TCBG252RT | 10846835004632 |  | Biosense Webster | EA
D6TCDG252RT | 10846835004663 |  | Biosense Webster | EA
D6TCDL252RT | 10846835004670 |  | Biosense Webster | EA
D6TEL252RT | 10846835004724 |  | Biosense Webster | EA
D7BTCBL252RT | 10846835005172 |  | Biosense Webster | EA
D7BTCDL252RT | 10846835005219 |  | Biosense Webster | EA
D7BTCFL252RT | 10846835005257 |  | Biosense Webster | EA
D7BTCJ5L | 10846835005301 |  | Biosense Webster | EA
D7TCBL252RT | 10846835000368 |  | Biosense Webster | EA
D7TCCL252RT | 10846835000375 |  | Biosense Webster | EA
D7TCDL252RT | 10846835000382 |  | Biosense Webster | EA
D7TDL252RT | 10846835000412 |  | Biosense Webster | EA
D7TFL252RT | 10846835000429 |  | Biosense Webster | EA
D8BTCDL252RT | 10846835000436 |  | Biosense Webster | EA
112547S | 10846835001662 |  | Biosense Webster | EA
DLN1220CT | 10846835006797 |  | Biosense Webster | EA
DLN2220CT | 10846835006827 |  | Biosense Webster | EA
D8BTCEL252RT | 10846835006476 |  | Biosense Webster | EA
D8BTCF5L252RT | 10846835006483 |  | Biosense Webster | EA
D8BTCGL | 10846835006520 |  | Biosense Webster | EA
D8BTCJ5L | 10846835006551 |  | Biosense Webster | EA
D8BTD5L252RT | 10846835006599 |  | Biosense Webster | EA
D8BTDL252RT | 10846835006612 |  | Biosense Webster | EA
D8BTF5L252RT | 10846835006643 |  | Biosense Webster | EA
D8BTFL252RT | 10846835006667 |  | Biosense Webster | EA
D8BTG5L | 10846835006674 |  | Biosense Webster | EA
D8BTGL | 10846835006681 |  | Biosense Webster | EA
DI7TCBLRT | 10846835006728 |  | Biosense Webster | EA
D8BTCDG252RT | 10846835006452 |  | Biosense Webster | EA
D8BTCE5L252RT | 10846835006469 |  | Biosense Webster | EA
D8BTCFL252RT | 10846835006506 |  | Biosense Webster | EA
D8BTCG5L | 10846835006513 |  | Biosense Webster | EA
D8BTCL252RT | 10846835006575 |  | Biosense Webster | EA
D8BTDG252RT | 10846835006605 |  | Biosense Webster | EA
D8BTEL252RT | 10846835006636 |  | Biosense Webster | EA
DI7TCJLRT | 10846835006742 |  | Biosense Webster | EA
DLN1215CT | 10846835006780 |  | Biosense Webster | EA
NR7TCS4YU | 10846835008470 |  | Biosense Webster | EA
NS7TCC8L174HS | 10846835008548 |  | Biosense Webster | EA
NI75TCCH | 10846835008357 |  | Biosense Webster | EA
D117136 | 10846835013962 |  | Biosense Webster | EA
CREFP6 | 20846835000129 |  | Biosense Webster | EA
D130303 | 10846835012644 |  | Biosense Webster | EA
D130302 | 10846835012637 |  | Biosense Webster | EA
D510P2R5155RT | 10846835004113 |  | Biosense Webster | EA
D5S10PR005RT | 10846835004182 |  | Biosense Webster | EA
D5SAL252RT | 10846835004205 |  | Biosense Webster | EA
D610DR002RT | 10846835004250 |  | Biosense Webster | EA
D610DR005RT | 10846835004274 |  | Biosense Webster | EA
D610DR252RT | 10846835004298 |  | Biosense Webster | EA
D610FR005RT | 10846835004328 |  | Biosense Webster | EA
D610FR252RT | 10846835004335 |  | Biosense Webster | EA
D6DR005CT | 10846835004434 |  | Biosense Webster | EA
D6DR252CT | 10846835004458 |  | Biosense Webster | EA
D6FR252RT | 10846835004502 |  | Biosense Webster | EA
D6S08DRPRYRT | 10846835004526 |  | Biosense Webster | EA
D708DL002RT | 10846835004823 |  | Biosense Webster | EA
D708RHISRT | 10846835004861 |  | Biosense Webster | EA
D710DRP10CT | 10846835004878 |  | Biosense Webster | EA
D728260RT | 10846835004960 |  | Biosense Webster | EA
D7A20131RT | 10846835005042 |  | Biosense Webster | EA
D510F2250RT | 10846835004106 |  | Biosense Webster | EA
D510PR005RT | 10846835004120 |  | Biosense Webster | EA
D5S06AL252RT | 10846835004151 |  | Biosense Webster | EA
D606DR002RT | 10846835004212 |  | Biosense Webster | EA
D608DR002CT | 10846835004229 |  | Biosense Webster | EA
D608DR252RT | 10846835004243 |  | Biosense Webster | EA
D610DRP10CT | 10846835004304 |  | Biosense Webster | EA
D6A10DRP10RT | 10846835004359 |  | Biosense Webster | EA
D6DR010RT | 10846835004441 |  | Biosense Webster | EA
D6R20P12RT | 10846835004519 |  | Biosense Webster | EA
D6S270L252RT | 10846835004557 |  | Biosense Webster | EA
D6T20282RT | 10846835004564 |  | Biosense Webster | EA
D706DR002RT | 10846835004762 |  | Biosense Webster | EA
D7AL252PS | 10846835005073 |  | Biosense Webster | EA
D7DL252PS | 10846835005592 |  | Biosense Webster | EA
D7DR005RT | 10846835005615 |  | Biosense Webster | EA
D7DR010RT | 10846835005622 |  | Biosense Webster | EA
D7DR252CT | 10846835005639 |  | Biosense Webster | EA
D7FR252RT | 10846835005721 |  | Biosense Webster | EA
D7L1020CT | 10846835005813 |  | Biosense Webster | EA
D7L1025RT | 10846835005820 |  | Biosense Webster | EA
D7L2020CT | 10846835005868 |  | Biosense Webster | EA
D7DR252RT | 10846835005646 |  | Biosense Webster | EA
D7L1012RT | 10846835005790 |  | Biosense Webster | EA
D7L1015CT | 10846835005806 |  | Biosense Webster | EA
D7L2015CT | 10846835005851 |  | Biosense Webster | EA
D7L2025RT | 10846835005875 |  | Biosense Webster | EA
D7L2030RT | 10846835005882 |  | Biosense Webster | EA
D7R20P14CT | 10846835005936 |  | Biosense Webster | EA
D7R20P14RT | 10846835005950 |  | Biosense Webster | EA
D7T20282CT | 10846835005981 |  | Biosense Webster | EA
F4QD005RT | 10846835006896 |  | Biosense Webster | EA
F4QF005RT | 10846835006902 |  | Biosense Webster | EA
F4QH005RT | 10846835006919 |  | Biosense Webster | EA
F5ADP282CT | 10846835006971 |  | Biosense Webster | EA
F5CQA252RT | 10846835007077 |  | Biosense Webster | EA
F5QA252RT | 10846835007213 |  | Biosense Webster | EA
F5QD010RT | 10846835007268 |  | Biosense Webster | EA
F5QD252RT | 10846835007282 |  | Biosense Webster | EA
F5QF005CT | 10846835007305 |  | Biosense Webster | EA
F5QF010RT | 10846835007329 |  | Biosense Webster | EA
F5QF252RT | 10846835007336 |  | Biosense Webster | EA
F5QRA005RT | 10846835007381 |  | Biosense Webster | EA
F5QRA252RT | 10846835007398 |  | Biosense Webster | EA
F5QRD010RT | 10846835007404 |  | Biosense Webster | EA
F5QRF005RT | 10846835007428 |  | Biosense Webster | EA
F5QRF252RT | 10846835007442 |  | Biosense Webster | EA
F5SQA252RT | 10846835007473 |  | Biosense Webster | EA
F65QA005RT | 10846835007510 |  | Biosense Webster | EA
F6ADP282RT | 10846835007534 |  | Biosense Webster | EA
F6CQF010RT | 10846835007626 |  | Biosense Webster | EA
F6DF252RT | 10846835007688 |  | Biosense Webster | EA
F6HA002RT | 10846835007725 |  | Biosense Webster | EA
F6HF002RT | 10846835007732 |  | Biosense Webster | EA
F6HF005RT | 10846835007756 |  | Biosense Webster | EA
F6QA002RT | 10846835007879 |  | Biosense Webster | EA
F6QA010RT | 10846835007893 |  | Biosense Webster | EA
F6QA252RT | 10846835007909 |  | Biosense Webster | EA
F6QD002RT | 10846835007916 |  | Biosense Webster | EA
F6QF010ST | 10846835008005 |  | Biosense Webster | EA
F6QK002RT | 10846835008043 |  | Biosense Webster | EA
F6QL010RT | 10846835008074 |  | Biosense Webster | EA
F6QL010ST | 10846835008081 |  | Biosense Webster | EA
F6QRF252RT | 10846835008128 |  | Biosense Webster | EA
F8ENNNNHSB | 10846835008227 |  | Biosense Webster | EA
LN222515CT | 10846835008296 |  | Biosense Webster | EA
OD73X4D010FS | 10846835008623 |  | Biosense Webster | EA
R7F282CT | 10846835008807 |  | Biosense Webster | EA
10438577 | 10846835008838 |  | Biosense Webster | EA
10439072 | 10846835008845 |  | Biosense Webster | EA
D128622 | 10846835008883 |  | Biosense Webster | EA
D1086784 | 10846835009354 |  | Biosense Webster | EA
D129704 | 10846835009422 |  | Biosense Webster | EA
D128201 | 10846835009576 |  | Biosense Webster | EA
D128205 | 10846835009613 |  | Biosense Webster | EA
D134301 | 10846835009637 |  | Biosense Webster | EA
D134905 | 10846835009699 |  | Biosense Webster | EA
D134906 | 10846835009705 |  | Biosense Webster | EA
D134401 | 10846835009712 |  | Biosense Webster | EA
D134702 | 10846835009781 |  | Biosense Webster | EA
D134801 | 10846835010145 |  | Biosense Webster | EA
D128207 | 10846835012217 |  | Biosense Webster | EA
D128210 | 10846835012248 |  | Biosense Webster | EA
D128211 | 10846835012255 |  | Biosense Webster | EA
D128212 | 10846835012262 |  | Biosense Webster | EA
D135404 | 10846835012347 |  | Biosense Webster | EA
SNDSTR10 | 10846835000139 |  | Biosense Webster | EA
SNDSTR10G | 10846835000153 |  | Biosense Webster | EA
1085122RT | 10846835000177 |  | Biosense Webster | EA
C5MHDTCMHS | 10846835000191 |  | Biosense Webster | EA
D6DR252RT | 10846835000252 |  | Biosense Webster | EA
D708DR002RT | 10846835000269 |  | Biosense Webster | EA
D7L1015RT | 10846835000283 |  | Biosense Webster | EA
D7L2020RT | 10846835000320 |  | Biosense Webster | EA
D7T20P15RT | 10846835000351 |  | Biosense Webster | EA
F5ADP282RT | 10846835000467 |  | Biosense Webster | EA
F6QA005RT | 10846835000481 |  | Biosense Webster | EA
F6QF005RT | 10846835000498 |  | Biosense Webster | EA
F6QRA005RT | 10846835000504 |  | Biosense Webster | EA
F6QRA010RT | 10846835000511 |  | Biosense Webster | EA
F6QRD010RT | 10846835000528 |  | Biosense Webster | EA
1078319 | 10846835000702 |  | Biosense Webster | EA
1079251S | 10846835000955 |  | Biosense Webster | EA
1079257S | 10846835000986 |  | Biosense Webster | EA
1086259RT | 10846835001181 |  | Biosense Webster | EA
1086577S | 10846835001327 |  | Biosense Webster | EA
112442S | 10846835001648 |  | Biosense Webster | EA
112449S | 10846835001655 |  | Biosense Webster | EA
116008RT | 10846835001761 |  | Biosense Webster | EA
120705S | 10846835002027 |  | Biosense Webster | EA
120707S | 10846835002041 |  | Biosense Webster | EA
120708S | 10846835002058 |  | Biosense Webster | EA
C3FFMST12X | 10846835003420 |  | Biosense Webster | EA
C6MR10EPTRS | 10846835003666 |  | Biosense Webster | EA
CB3412CT | 10846835003796 |  | Biosense Webster | EA
CB3434CT | 10846835003802 |  | Biosense Webster | EA
CG2025CT | 10846835003826 |  | Biosense Webster | EA
CR3425CT | 10846835003857 |  | Biosense Webster | EA
D505AR005RT | 10846835003987 |  | Biosense Webster | EA
D505FR005RT | 10846835003994 |  | Biosense Webster | EA
D508DP10RT | 10846835004069 |  | Biosense Webster | EA
F4QA005RT | 10846835006889 |  | Biosense Webster | EA
F4SHH252RT | 10846835006933 |  | Biosense Webster | EA
F5ADPP10RT | 10846835007008 |  | Biosense Webster | EA
F5BF010RT | 10846835007039 |  | Biosense Webster | EA
F5CQA005RT | 10846835007060 |  | Biosense Webster | EA
F5CQF005RT | 10846835007107 |  | Biosense Webster | EA
F5QA002RT | 10846835007176 |  | Biosense Webster | EA
F5QA005CT | 10846835007183 |  | Biosense Webster | EA
F5QA005RT | 10846835007190 |  | Biosense Webster | EA
F5QD005RT | 10846835007244 |  | Biosense Webster | EA
F5QL005RT | 10846835007350 |  | Biosense Webster | EA
F5QL010ST | 10846835007367 |  | Biosense Webster | EA
F6BRA010RT | 10846835007565 |  | Biosense Webster | EA
F6CQF005RT | 10846835007619 |  | Biosense Webster | EA
F6DG252RT | 10846835007701 |  | Biosense Webster | EA
F6HF010RT | 10846835007763 |  | Biosense Webster | EA
F6OA002RT | 10846835007817 |  | Biosense Webster | EA
F6OF002RT | 10846835007855 |  | Biosense Webster | EA
F6QA005CT | 10846835007886 |  | Biosense Webster | EA
F6QD005RT | 10846835007923 |  | Biosense Webster | EA
F6QD010RT | 10846835007930 |  | Biosense Webster | EA
F6QD252RT | 10846835007947 |  | Biosense Webster | EA
F6QF002RT | 10846835007961 |  | Biosense Webster | EA
F6QF005CT | 10846835007978 |  | Biosense Webster | EA
F6QF010RT | 10846835007992 |  | Biosense Webster | EA
F6QF252RT | 10846835008012 |  | Biosense Webster | EA
F6QG010RT | 10846835008036 |  | Biosense Webster | EA
F6QL005RT | 10846835008067 |  | Biosense Webster | EA
F6QRA252RT | 10846835008111 |  | Biosense Webster | EA
LN122515CT | 10846835008272 |  | Biosense Webster | EA
OD78X2D005FS | 10846835008630 |  | Biosense Webster | EA
R7D282CT | 10846835008791 |  | Biosense Webster | EA
XRPP8Y | 10846835008821 |  | Biosense Webster | EA
10439011 | 10846835008852 |  | Biosense Webster | EA
D128709 | 10846835008913 |  | Biosense Webster | EA
D129707 | 10846835009439 |  | Biosense Webster | EA
D128202 | 10846835009583 |  | Biosense Webster | EA
D128203 | 10846835009590 |  | Biosense Webster | EA
D128204 | 10846835009606 |  | Biosense Webster | EA
D128206 | 10846835009620 |  | Biosense Webster | EA
D134902 | 10846835009668 |  | Biosense Webster | EA
D134903 | 10846835009675 |  | Biosense Webster | EA
D134904 | 10846835009682 |  | Biosense Webster | EA
SAT001 | 10846835009743 |  | Biosense Webster | EA
D134701 | 10846835009774 |  | Biosense Webster | EA
D134703 | 10846835009798 |  | Biosense Webster | EA
D1085413 | 10846835010114 |  | Biosense Webster | EA
D134802 | 10846835010152 |  | Biosense Webster | EA
D134803 | 10846835010169 |  | Biosense Webster | EA
D134804 | 10846835010176 |  | Biosense Webster | EA
D134805 | 10846835010183 |  | Biosense Webster | EA
D128208 | 10846835012224 |  | Biosense Webster | EA
D128209 | 10846835012231 |  | Biosense Webster | EA
D135401 | 10846835012316 |  | Biosense Webster | EA
D1085414 | 10846835012552 |  | Biosense Webster | EA
D128624 | 10846835012576 |  | Biosense Webster | EA
CFT001 | 10846835000016 |  | Biosense Webster | EA
C10MR10MSTKS | 10846835000184 |  | Biosense Webster | EA
C5MHNAVMHS | 10846835000207 |  | Biosense Webster | EA
C5MHREFMHS | 10846835000214 |  | Biosense Webster | EA
D608DR002RT | 10846835000221 |  | Biosense Webster | EA
D610DRP10RT | 10846835000238 |  | Biosense Webster | EA
D6DR005RT | 10846835000245 |  | Biosense Webster | EA
D710DRP10RT | 10846835000276 |  | Biosense Webster | EA
D7L1020RT | 10846835000290 |  | Biosense Webster | EA
D7L102515RT | 10846835000306 |  | Biosense Webster | EA
D7L2015RT | 10846835000313 |  | Biosense Webster | EA
D7L202515RT | 10846835000337 |  | Biosense Webster | EA
D7T20282RT | 10846835000344 |  | Biosense Webster | EA
D7TCFL252RT | 10846835000405 |  | Biosense Webster | EA
F5QF005RT | 10846835000474 |  | Biosense Webster | EA
F6QRF005RT | 10846835000535 |  | Biosense Webster | EA
F6QRF010RT | 10846835000542 |  | Biosense Webster | EA
RR6PNY | 10846835000658 |  | Biosense Webster | EA
107875S | 10846835000801 |  | Biosense Webster | EA
1079254S | 10846835000962 |  | Biosense Webster | EA
1086778S | 10846835001402 |  | Biosense Webster | EA
112434RT | 10846835001594 |  | Biosense Webster | EA
112436RT | 10846835001624 |  | Biosense Webster | EA
120706S | 10846835002034 |  | Biosense Webster | EA
122072S | 10846835002317 |  | Biosense Webster | EA
122073S | 10846835002324 |  | Biosense Webster | EA
C10MRMSTKDTCS | 10846835003406 |  | Biosense Webster | EA
C3FFMST10X | 10846835003413 |  | Biosense Webster | EA
C6FST6MST6 | 10846835003628 |  | Biosense Webster | EA
C6MR10EPTST | 10846835003680 |  | Biosense Webster | EA
CB3410CT | 10846835003789 |  | Biosense Webster | EA
CR3434CT | 10846835003871 |  | Biosense Webster | EA
CY1210CT | 10846835003918 |  | Biosense Webster | EA
CY1212CT | 10846835003925 |  | Biosense Webster | EA
D508D005RT | 10846835004038 |  | Biosense Webster | EA
D510DRP10RT | 10846835004090 |  | Biosense Webster | EA
D139801 | 10846835017175 |  | Biosense Webster | EA
D160801 | 10846835017885 | External Processing Unit | Biosense Webster | EA
FG170000 | 10846835011678 | Cardiac Mapping System | Biosense Webster | EA
D7BTCE5L252RT | 10846835005226 |  | Biosense Webster | EA
D138501 | 10846835016253 |  | Biosense Webster | EA
D138503 | 10846835016260 |  | Biosense Webster | EA
D138502 | 10846835016277 |  | Biosense Webster | EA